## CCE_DataFiles
Deployment | Mooring | Deployment Date | Mooring Name | Device Type | Instrument Brand | Instrument Model | Data File Name | Water Depth (m) | Lat | Long | Serial Number | DataTypes | Sample Interval | Meters above seafloor | Clock Initial Sync with GMT | Equipment Time (GMT) | Check Time (GMT) | Clock Drift | Ahead or Behind | Notes | Names to be credited
A | MS0 | 20151104 | MS0_20151104 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20151104-trm.nc | 31 | 36.7518 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2015-11-05 | 2016-04-06 22:23 | 2016-04-06 21:48 | 0:35 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS0 | 20151104 | MS0_20151104 | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20151104.nc | 31 | 36.7518 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2015-11-02 20:06 | 2016-04-06 19:06 | 2016-04-06 19:09 | 0:03 | behind GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS0 | 20151104 | MS0_20151104 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20151104_Processedwave.nc and MBCCE_MS0_AWAC_20151104.nc | 31 | 36.7518 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2015-11-05 | 2016-04-06 20:23 | 2016-04-06 20:23 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54170 | Optical backscatter | 1 minute | 65 | 2015-09-22 01:01 | 2016-04-18 20:09 | 2016-04-18 20:09 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 127 | Temp., pressure | 3 minute | 65 | 2015-09-21 22:17 | 2016-04-15 23:28 | 2016-04-15 23:29 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS1_ADCP300_20151006.nc | 286.7 | 36.7933 | -121.8446 | 587 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 | 2016-04-15 22:47 | 2016-04-15 22:50 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 35 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | TU | RBR | Virtuoso-Tu Turbidity Sensor | MBCCE_MS1_TU35m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 54126 | Optical backscatter | 1 minute | 35 | 2015-09-22 | 2016-04-18 20:18 | 2016-04-18 20:18 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 286.7 | 36.7933 | -121.8446 | N/A | Grain size | 8 day intervals | 10 | [5 empty] | MS1_20151006 traveled down canyon during the January 15, 2016 event before breaking from it's anchor and floating to the surface. Mooring eventally recovered. Lower sediment trap was torn off in the process, not recoverd. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | CTOBSTrans | Sea-Bird Electronics | SBE-16+ CTD w/ Turbidity | MBCCE_MS1_CTOBSTrans9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 4250 | Conductivity, Temp, optical backscatter, transmissivity | 15 minute | 9 | 2015-09-22 | 2016-04-18 16:29 | 2016-04-18 16:28 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20151006.nc | 286.7 | 36.7933 | -121.8446 | 41411012G | Altimetry, acoustic backscatter profile | 10 minute | 9 | 2015-09-22 |  |  |  |  | was not recorded | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS1 | 20151006 | MS1_20151006 | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20151006.nc | 286.7 | 36.7933 | -121.8446 | 1753 | Profile of current velocity, acoustic backscatter | 2 minute | 9 | 2015-09-29 | 2016-04-15 23:10 | 2016-04-15 23:09 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS2 | 20151005 | MS2_20151005 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20151005.nc | 526.8 | 36.7883 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 20:54 | 2016-04-05 17:59 | 2016-04-05 17:58 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS2 | 20151005 | MS2_20151005 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 526.8 | 36.7883 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS2 | 20151005 | MS2_20151005 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 10046 | Optical backscatter | 15 minute | 9 | 2015-09-22 19:25 | 2016-04-05 21:43 | 2016-04-05 21:43 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS2 | 20151005 | MS2_20151005 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20151005.nc | 526.8 | 36.7883 | -121.9034 | 12354 | Conductivity, temp., pressure | 1 minute | 9 | 2015-09-21 23:23 | 2016-04-06 01:10 | 2016-04-06 01:10 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS3 | 20151005 | MS3_20151005 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20151005.nc | 831.4 | 36.765 | -121.9697 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2015-09-23 23:28 | 2016-04-05 18:06 | 2016-04-05 18:09 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS3 | 20151005 | MS3_20151005 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 831.4 | 36.765 | -121.9697 | N/A | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS3 | 20151005 | MS3_20151005 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 10750 | Optical backscatter | 10 min | 9 | 2015-09-22 22:36 | 2016-04-05 23:06 | 2016-04-05 23:05 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS3 | 20151005 | MS3_20151005 | CT | Sea-Bird Electronics | SBE-37 Microcat | MBCCE_MS3_CT9m_20151005.nc | 831.4 | 36.765 | -121.9697 | 706 | Conductivity, temp. | 1 min | 9 | 2015-09-21 20:50 | 2016-04-07 23:04 | 2016-04-07 23:04 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS3 | 20151005 | MS3_20151005 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20151005.nc | 831.4 | 36.765 | -121.9697 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 |  |  |  | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS4 | 20151007 | MS4_20151007 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 1285.8 | 36.7358 | -122.0165 | N/A | Grain size | intervalometer malfunctioned | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS4 | 20151007 | MS4_20151007 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20151007.nc | 1285.8 | 36.7358 | -122.0165 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-06 16:50 | 2016-04-07 17:55 | 2016-04-07 18:10 | 0:14 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2015-10-19 | 2016-04-06 17:29 | 2016-04-06 17:29 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2015-10-19 | 2016-04-06 17:08 | 2016-04-06 17:08 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU74m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 74 | 2015-10-19 | 2000-01-01 | data ended 12/21/2015 18:56:00 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | intervalometer malfunctioned | 74 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20151020.nc | 1448.9 | 36.715 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2015-10-19 | 2016-04-06 18:11 | 2016-04-06 18:11 | 6 seconds behind |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 1448.9 | 36.715 | -122.0129 | N/A | Grain size | 8 days interval; delay time 9 days from Oct 16 2015 GMT | 11 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU11m_20151020.nc | 1448.9 | 36.715 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 11 | 2015-10-19 | 2116-04-06 17:04 | 2116-04-06 17:04 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS5 | 20151020 | MS5_20151020 | CT | RBR | RBRduo C, T | MBCCE_MS5_CT11m_20151020_0138.nc | 1448.9 | 36.715 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 11 | 2015-10-19 | 2016-04-06 17:36 | 2016-04-06 17:36 | 0 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS6 | 20151015 | MS6_20151015 | McLane | McLane | McLane Profiler | MBCCE_MS6_20151015.nc | 1830.8 | 36.7028 | -122.0907 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs, alternating up and down | transits between ~7m and ~507m | 2015-10-14 | [5 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS7 | 20151027 | MS7_20151027 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU300m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30002 | Fluorescence, optical backscatter | 5 min | 300 | 2015-10-11 19:16 | 2016-04-13 15:47 | 2016-04-13 15:54 | 0:07 | behind GMT | Stopped logging at 01/06/2016 14:36:29 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS7 | 20151027 | MS7_20151027 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 300 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS7 | 20151027 | MS7_20151027 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20151027.nc | 1849 | 36.7016 | -122.0975 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2015-10-17 | 2016-04-12 17:26 | 2016-04-12 17:28 | 0:02 | behind GMT | Initial Sync assumed 1 day before deployment | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS7 | 20151027 | MS7_20151027 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_Oct2015_updated.pdf, and MBCCE_DeploymentA_2015Oct_GrainSize.xlsx | 1849 | 36.7016 | -122.0975 | NA | Grain size | 8 day intervals | 10 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | MS7 | 20151027 | MS7_20151027 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20151027.nc | 1849 | 36.7016 | -122.0975 | WL-30001 | Fluorescence, optical backscatter | 5 min | 10 | 2015-10-11 18:43 | 2016-04-13 15:28 | 2016-04-13 15:33 | 0:05 | behind GMT | Stopped logging at 01/07/2016 12:20:08 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:04 | 04/14/16 19:03:37 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 19:23 | 04/14/16 19:21:49 | 0:01 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20151013.nc | 1837.2 | 36.7018 | -122.0939 | 20661 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2015-10-12 | 2016-04-14 20:59 | 2016-04-14 20:59 | 0:00 | ahead of GMT | NOTE, for this deployment only, ADCP's were on local (Pacific) time. Clock drift times were converted to GMT for this table. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-16+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity data is bad after the January 15th event. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | 677 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | SIN | 20151013 | SIN_20151013 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20151013_timecorrected.nc | 1837.2 | 36.7018 | -122.0939 | WL-30010 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | AMT1 | 20151013 | AMT1_BED2_20151013 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20151013_to_20160428.csv | 301.9 | 36.7944 | -121.848 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | AMT2 | 20151019 | AMT2_20151019 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20151027_to_20160405.csv | 211.3 | 36.7937 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
A | AMT3 | 20151027 | AMT3_20151027 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20151027_to_20160416.csv | 242 | 36.7928 | -121.8489 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS0 | 20160408 | MS0_20160408 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20160408.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | 2016-04-06 19:56 | 2016-10-06 03:09 | 2016-10-06 03:24 | 0:14 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS0 | 20160408 | MS0_20160408 | FLNTU | Wet Labs | ECO FLNTU RTD | MBCCE_MS0_FLNTU_20160408.nc | 31 | 36.7519 | -121.8387 | WL-30006 | Optical backscatter, fluorescence | 5 min | 0 | 2016-04-06 14:00 | 2016-10-05 22:06 | 2016-10-05 22:10 | 0:04 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS0 | 20160408 | MS0_20160408 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20160408_Processedwave.nc and MBCCE_MS0_AWAC_20160408.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | 2016-04-08 | 2016-10-06 02:10 | 2016-10-06 02:10 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS1 | 20160404 | MS1_20160404 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20160404.nc | 278 | 36.7932 | -121.8447 | 128 | Temp., pressure | 5 minute | 65 | 2016-03-28 21:22 | 2016-10-06 16:46 | 2016-10-06 16:46 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS1 | 20160404 | MS1_20160404 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300_20160404.nc | 278 | 36.7932 | -121.8447 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-03-24 23:10 | 2016-10-04 17:55 | 2016-10-04 17:57 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS1 | 20160404 | MS1_20160404 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 278 | 36.7932 | -121.8447 | N/A | Grain size | intervalometer malfunctioned | 10 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS1 | 20160404 | MS1_20160404 | TU | RBR | XR-420 with Seapoint | MBCCE_MS1_TU9m_20160404.nc | 278 | 36.7932 | -121.8447 | 10027 | Optical backscatter | 5 minute | 9 | 2016-03-28 22:04 | 2016-10-05 00:57 | 2016-10-05 00:56 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS1 | 20160404 | MS1_20160404 | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20160404.nc | 278 | 36.7932 | -121.8447 | 5404 | Conductivity, temp. | 1 minute | 9 | 2016-03-31 18:36 | 2016-10-05 20:22 | 2016-10-05 20:22 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS2 | 20160407 | MS2_20160407 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20160407.nc | 527 | 36.7878 | -121.9035 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:35 | 2016-10-03 20:41 | 2016-10-03 20:38 | 0:03 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS2 | 20160407 | MS2_20160407 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 527 | 36.7878 | -121.9035 | N/A | Grain size | N/A | 9 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS2 | 20160407 | MS2_20160407 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20160407.nc | 527 | 36.7878 | -121.9035 | 10075 | Optical backscatter | 15 minute | 9 | 2016-04-06 19:20 | 2016-10-03 20:56 | 2016-03-10 20:55 | 4968:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS2 | 20160407 | MS2_20160407 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20160407.nc | 527 | 36.7878 | -121.9035 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-03-28 22:51 | 2016-10-04 16:13 | 2016-10-04 16:12 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS3 | 20160407 | MS3_20160407 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20160407.nc | 831.4 | 36.7651 | -121.9699 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-04-06 18:19 | 2016-10-04 19:41 | 2016-10-04 19:44 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS3 | 20160407 | MS3_20160407 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 831.4 | 36.7651 | -121.9699 | N/A | Grain size | 8 day intervals | 9 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS3 | 20160407 | MS3_20160407 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 10750 | Optical backscatter | 10 min | 9 | 2016-04-06 00:14 | 2016-10-04 20:12 | 2016-10-04 20:12 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS3 | 20160407 | MS3_20160407 | CT | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20160407.nc | 831.4 | 36.7651 | -121.9699 | 769 | Conductivity, temp. | 1 min | 9 | 2016-03-29 00:33 | 2016-10-05 00:36 | 2016-10-05 00:36 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS3 | 20160407 | MS3_20160407 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20160407.nc | 831.4 | 36.7651 | -121.9699 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-04-05 17:35 | 2016-10-04 01:49 | 2016-10-04 01:50 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS4 | 20160408 | MS4_20160408 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20160408.nc | 1285 | 36.736 | -122.0167 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-08 | 2016-10-05 21:13 | 2016-10-05 21:15 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS4 | 20160408 | MS4_20160408 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 1285 | 36.736 | -122.0167 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | N/A | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS4 | 20160408 | MS4_20160408 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20160408.nc | 1285 | 36.736 | -122.0167 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-07 18:26 | 2016-10-05 18:52 | 2016-10-05 19:00 | 0:08 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 | 2016-04-07 | 2016-10-04 12:58 | 2016-10-04 12:58 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-04-07 | 2016-10-05 13:14 | 2016-10-05 13:14 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 74 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54149 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-04-07 | 2016-10-05 13:07 | 2016-10-05 13:07 | 0:00 | ahead of GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | CT70m | RBR | RBRduo C, T | MBCCE_MS5_CT70m_20160408.nc | 1445 | 36.7155 | -122.0129 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 70 | 2016-04-07 | 2016-10-05 13:03 | 2016-10-05 13:03 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20160408.nc | 1445 | 36.7155 | -122.0129 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-04-07 | 2016-10-04 22:09 | 2016-10-04 22:10 | 0:01 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20160408.nc | 1445 | 36.7155 | -122.0129 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 10 | 2016-04-07 | 2000-01-01 00:01 | 2016-10-05 13:10 | Malfunction! |  | Malfunction! | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS5 | 20160408 | MS5_20160408 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 1445 | 36.7155 | -122.0129 | N/A | Grain size | intervalometer with 8 day interval; delay time 9 days from Oct 16 2015 GMT | 11 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS6 | 20160418 | MS6_20160418 | McLane | McLane | McLane Profiler | MBCCE_MS6_20160418.nc | 1826 | 36.7019 | -122.0894 | 11720 | Current, compass and tilt, conductivity, temp., pressure, fluorescence, optical backscatter | 30 min profile every 4.5 hrs., alternating up and down | transits between ~7m and ~507m | 2016-04-15 21:30 | 42654.1135 | 42654.113 | 0.00047454 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS7 | 20160420 | MS7_20160420 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30001 | Fluorescence, optical backscatter | Channel 71 | 300 | 2016-04-15 12:30 | 2016-10-11 01:14 | 2016-10-11 01:19 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS7 | 20160420 | MS7_20160420 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS7 | 20160420 | MS7_20160420 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20160420.nc | 1849 | 36.7018 | -122.0984 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-04-15 18:20 | 2016-10-11 01:01 | 2016-10-11 01:04 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS7 | 20160420 | MS7_20160420 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_April2016_updated.pdf, and MBCCE_DeploymentB_2016April_GrainSize.xlsx | 1849 | 36.7018 | -122.0984 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Trap spilled onto deck. Some photos exist, some grain size data exists | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | MS7 | 20160420 | MS7_20160420 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20160420.nc | 1849 | 36.7018 | -122.0984 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-04-13 14:28 | 2016-10-11 17:55 | 2016-10-11 18:01 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 23119 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:50 | 2016-10-12 16:34 | 2016-10-12 16:33 | 0:01 | ahead of GMT | The 300kHz SIN ADCP stopped acquiring on 13th August, 2016 so didn't capture the event | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 21053 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:52 | 2016-10-12 15:57 | 2016-10-12 15:55 | 0:02 | ahead of GMT | The 600kHz SIN ADCP stopped acquiring on 17th September, 2016 so did capture the event | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20160417.nc | 1836.7 | 36.7017 | -122.0938 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-04-14 22:46 | 2016-10-11 22:10 | 2016-10-11 22:10 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 16P51851-6133 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | 980 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
B | SIN | 20160417 | SIN_20160417 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20160417_timecorrected.nc | 1836.7 | 36.7017 | -122.0938 | WL-30005 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS0 | 20161024 | MS0_20161024 | CTDOXFLOBS | Sea-Bird Electronics | Seabird SBE-16+ CTD | MBCCE_MS0_CTDOXFLOBS_20161024.nc | 31 | 36.7519 | -121.8387 | 4166 | Conductivity, temp., pressure, oxygen, fluorescence, optical backscatter | 10 min | 0 | [5 empty] | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS0 | 20161024 | MS0_20161024 | AWAC | Nortek | AWAC 600KHz | MBCCE_MS0_AWAC_20161014_Processedwave.nc and MBCCE_MS0_AWAC_20161024.nc | 31 | 36.7519 | -121.8387 | 5471 | wave heights, current velocity | 1 Hz measurement for 17 minutes every 120 min | 0 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54170 | Optical backscatter | 1 minute | 65 | 2016-08-29 21:02 |  |  |  |  | Clock was reset on recovery | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | TD | Sea-Bird Electronics | SBE-39 | MBCCE_MS1_TD65m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 128 | Temp., pressure | 3 minute | 65 | 2016-08-30 18:08 | 2017-03-23 00:42 | 2017-03-23 00:42 | 0:00 | behind GMT | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300up_20161006.nc | 290.3 | 36.7936 | -121.8457 | 587 | Profile of current velocity, acoustic backscatter | 1 minute | 65 | 2016-10-02 16:21 | 2017-03-22 19:25 | 2017-03-22 19:31 | 0:06 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | ADCP | Teledyne RD Instruments | 300kHz WH | MBCCE_MS1_ADCP300down_20161006.nc | 290.3 | 36.7936 | -121.8457 | 473 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-04 23:43 | 2017-03-22 19:50 | 2017-03-22 19:52 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 35 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | TU | RBR | Virtuoso-Tu | MBCCE_MS1_TU35m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 54126 | Optical backscatter | 1 minute | 35 | 2016-08-29 21:30 | 2017-03-22 21:22 | 2017-03-22 21:22 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 290.3 | 36.7936 | -121.8457 | N/A | Grain Size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | ADCP | Nortek | Aquadopp | MBCCE_MS1_Aquadopp2000_20161006.nc | 290.3 | 36.7936 | -121.8457 | 1753 | Profile of current velocity, acoustic backscatter | 3 minute | 10 | 2016-09-28 22:00 | 2017-03-23 17:18 | 2017-03-23 17:18 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | Alt | EofE | Echologger EA-400 Altimeter | MBCCE_MS1_Alt9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 41411012G | Altimetry, acoustic backscatter profile | 6 minute | 10 | 2016-10-05 19:35 | 2017-03-22 15:34 | 2017-03-22 15:35 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS1 | 20161006 | MS1_20161006 | CT | Sea-Bird Electronics | SBE-37 | MBCCE_MS1_CT9m_20161006.nc | 290.3 | 36.7936 | -121.8457 | 466 | Salinity, temp. | 1 minute | 9 | 2016-10-04 22:30 | 2017-03-22 23:28 | 2017-03-22 23:28 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS2 | 20161006 | MS2_20161006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS2_ADCP300_20161006.nc | 526.3 | 36.7886 | -121.9034 | 13016 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:20 | 2017-03-22 22:34 | 2017-03-22 22:31 | 0:03 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS2 | 20161006 | MS2_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 526.3 | 36.7886 | -121.9034 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A | Sediment trap torn off. Not recovered. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS2 | 20161006 | MS2_20161006 | TU | RBR with Seapoint OBS | XR-420 Turbidity Sensor | MBCCE_MS2_TU9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 10046 | Optical backscatter | 3 minute | 10 | 2016-09-30 23:22 | 2017-03-22 21:06 | 2017-03-22 21:05 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS2 | 20161006 | MS2_20161006 | CTD | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS2_CTD9m_20161006.nc | 526.3 | 36.7886 | -121.9034 | 1700 | Conductivity, temp., pressure | 1 minute | 9 | 2016-10-04 21:44 | 2017-03-22 18:19 | 2017-03-22 18:19 | 0:00 | ahead of GMT | not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | ADCP | Teledyne RD Instruments | 300kHz Workhorse ADCP | MBCCE_MS3_ADCP300_20161006.nc | 829.1 | 36.7655 | -121.9693 | 16330 | Profile of current velocity, acoustic backscatter | 30 seconds | 65 | 2016-10-05 16:47 | 2017-03-22 19:14 | 2017-03-22 19:18 | 0:03 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | intervalometer malfunctioned | 35 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU35m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10027 | Optical backscatter | 10 min | 35 | 2016-10-04 23:37 | 2017-03-22 20:19 | 2017-03-22 20:19 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 829.1 | 36.7655 | -121.9693 | N/A | Grain size | 8 day interval | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | TU | RBR | XR-420 logger Turbidity Sensor | MBCCE_MS3_TU10m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 10755 | Optical backscatter | 10 min | 10 | 2016-10-05 16:00 | 2017-03-22 20:48 | 2017-03-22 20:47 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | CT9 | Sea-Bird Electronics | SBE-37 Microcat CTD | MBCCE_MS3_CT9m_20161006.nc | 829.1 | 36.7655 | -121.9693 | 12354 | Conductivity, temp. | 1 min | 9 | 2016-10-04 22:04 | 2017-03-23 01:08 | 2017-03-23 01:08 | 0:00 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS3 | 20161006 | MS3_20161006 | ADCP | Nortek | Aquadopp ADCP | MBCCE_MS3_Aquadopp2000_20161006.nc | 829.1 | 36.7655 | -121.9693 | 1694 | Profile of current velocity, acoustic backscatter | 2 min | 9 | 2016-10-04 23:00 | 2017-03-23 20:24 | 2017-03-23 20:24 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS4 | 20161007 | MS4_20161007 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS4_ADCP300_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WHS300-2024 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 19:46 | 2017-03-22 18:11 | 2017-03-22 18:12 | 0:02 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS4 | 20161007 | MS4_20161007 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 1285.9 | 36.7361 | -122.0172 | N/A | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS4 | 20161007 | MS4_20161007 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS4_FLNTU10m_20161007.nc | 1285.9 | 36.7361 | -122.0172 | WL-30007 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-05 23:00 | 2017-03-22 20:13 | 2017-03-22 20:26 | 0:13 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU200m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54148 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 200 |  | N/A | 2017-02-08 19:40 | N/A |  | Stopped Dec. 4, 2016 | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU100m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54146 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 100 | 2016-10-06 | 2017-02-08 19:46 | 2017-02-08 19:47 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU70m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54147 | Optical backscatter | 60 sec. interval; auto range; measuring speed 3 sec.; avg period 6 sec | 70 | 2016-10-06 | 2017-02-08 19:32 | 2017-02-08 19:32 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | CT | RBR | RBRduo C, T | MBCCE_MS5_CT10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 61610 | Conductivity, temp. | 30 sec. interval; sampling rate: 1 sec; avg duration: 5 sec | 10 | 2016-10-06 | 2017-02-08 19:10 | 2017-02-08 19:10 | 0:00 | behind GMT | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_MS5_ADCP300_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 23079 | Profile of current velocity, acoustic backscatter | 30 sec. interval; 7 pings per ensemble | 65 | 2016-10-07 | 2017-02-08 21:31 | 2017-02-08 21:32 | 0:01 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | TU | RBR | RBRvirtuoso TU Turbidity Sensor | MBCCE_MS5_TU10m_20161007.nc | 1438.7 | 36.7163 | -122.0128 | 54149 | Optical backscatter | 30 sec. interval; 7 pings per ensemble | 10 | 2016-10-06 | 2017-02-08 19:23 | 2017-02-08 19:23 | 0:00 |  | Initial Sync assumed 1 day before deployment. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS5 | 20161007 | MS5_20161007 | Sediment Trap | Seatech Engineering | CliST (Anderson Sediment Trap) | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 1438.7 | 36.7163 | -122.0128 | N/A | Grain size | 6 day interval; | 11 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS7 | 20161019 | MS7_20161019 | FLNTU | WET Labs | ECO FLNTU | MBCCE_MS7_FLNTU300m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30001 | Fluorescence, optical backscatter | 5 min | 300 | 2016-10-18 21:00 | 2017-04-04 04:13 | 2017-04-04 04:18 | 0:05 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS7 | 20161019 | MS7_20161019 | Sediment Trap | N/A | Anderson Sediment Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 300 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS7 | 20161019 | MS7_20161019 | ADCP | Teledyne RD Instruments | 300KHz Workhorse Sentinel ADCP | MBCCE_MS7_ADCP300_20161019.nc | 1851 | 36.7019 | -122.0987 | WHS300-2025 | Profile of current velocity, acoustic backscatter | 30 sec | 70 | 2016-10-11 20:59 | 2017-04-04 02:52 | 2017-04-04 02:56 | 0:04 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS7 | 20161019 | MS7_20161019 | Sediment Trap | N/A | Anderson Sed Trap | AndersonSedTrapDataPanel_Oct2016_updated.pdf, and MBCCE_DeploymentC_2016Oct_GrainSize.xlsx | 1851 | 36.7019 | -122.0987 | NA | Grain size | 8 day intervals | 10 | N/A | N/A | N/A | N/A | N/A |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | MS7 | 20161019 | MS7_20161019 | FLNTU | WET Labs | Triplet ECO FLNTU | MBCCE_MS7_FLNTU10m_20161019.nc | 1851 | 36.7019 | -122.0987 | WL-30002 | Fluorescence, optical backscatter | 5 min | 10 | 2016-10-18 09:10 | 2017-04-04 04:01 | 2017-04-04 04:08 | 0:07 | behind GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 300 kHz ADCP | MBCCE_SIN_ADCP300_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 22697 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:48 | 2017-04-10 17:25 | 2017-04-10 17:24 | 0:01 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 600 kHz ADCP | MBCCE_SIN_ADCP600_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 23102 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-07 20:53 | 2017-04-10 16:13 | 2017-04-10 16:11 | 0:02 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | ADCP | Teledyne RD Instruments | Workhorse 1200 kHz ADCP | MBCCE_SIN_ADCP1200_20161018.nc | 1837.8 | 36.7018 | -122.0939 | 20662 | Profile of current velocity, acoustic backscatter, pointing up | 10 sec | 0.5 | 2016-10-17 17:28 | 2017-04-10 16:08 | 2017-04-10 16:08 | 0:00 | ahead of GMT |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | CTDOBSTrans | Sea-Bird Electronics | Seabird SBE-19+ CTD (with transmissometer) | MBCCE_SIN_CTDOBSTrans_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 16P41561-4952 | Conductivity, temp., pressure, optical backscatter, transmisivity | 2 sec | 0.8 | no internal clock |  |  | Time corrected |  | Conductivity measurements were bad for the whole deployment. Pressure not tide corrected | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | OX | Aanderaa | Aanderaa Oxygen Optode | MBCCE_SIN_OX_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | 3830 | Dissolved oxygen | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | SIN | 20161018 | SIN_20161018 | FLNTU | Wetlabs | ECO Triplet Turbidity and Fluorescence Sensor | MBCCE_SIN_FLNTU_20161018_timecorrected.nc | 1837.8 | 36.7018 | -122.0939 | WL-30009 | Fluorescence, optical backscatter | 10 sec | 0.5 | no internal clock |  |  | Time corrected |  |  | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | AMT1 | 20161010 | AMT1_BED11_20161010 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT1_20161011_to_20170421.csv and MBCCE_BED_Depths_Time.xlsx | 299.9003 | 36.7943 | -121.8478 | 299037-001 | Pressure, temperature, pitch and roll | 45 min | 2 | [5 empty] | AMT recorded info every 45 min. Clock drift not an issue. | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | AMT2 | 20161005 | AMT2_20161005 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT2_20161005_to_20161019.csv | 206.7 | 36.7938 | -121.8517 | 297280-001 | range to AMT 1 and AMT 3 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
C | AMT3 | 20161005 | AMT3_20161005 | AMT | Sonardyne | AMT Beacon 8305 | MBCCE_AMT3_20161011_to_20161019.csv | 238.9 | 36.7928 | -121.849 | 297280-002 | range to AMT 1 and AMT 2 | 45 min | 1.5 | [6 empty] | Charles K. Paull, Peter J. Talling, Katherine L. Maier, Daniel Parsons, Jingping Xu, Kurt Rosengerger
| BEDs | Variable |  | BED Depths |  |  | MBCCE_All_BEDS_depths.xlsx |  |  |  |  | Pressure | [8 empty] | Charlie Paull, Roberto Gwiazda
| BEDs | Variable |  | BED Deployment Location |  |  | MBCCE_BED_Deployment_Locations.xlsx |  |  |  |  | Position | [8 empty] | Charlie Paull, Roberto Gwiazda
| N/A | Variable |  | Event Timing |  |  | MBCCE_EventTiming.pdf |  |  |  |  | Time of events | [7 empty] | Table lists the time any sensor captured an event. To be used to look up data surrounding an event. | Charlie Paull
| N/A | 20151104 |  | Bathymetry |  |  | Topo1m_CCEShallow_20151104_UTM.grd* | 200-500 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids * indicates best quality grid of site | Charlie Paull, David Caress
| N/A | 20151201 |  | Bathymetry |  |  | Topo1m_CCEShallow_20151201_UTM.grd | 200-501 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20160128 |  | Bathymetry |  |  | Topo1m_CCEShallow_20160128_UTM.grd | 200-502 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20160321 |  | Bathymetry |  |  | Topo1m_CCEShallow_20160321_UTM.grd | 200-503 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20161207 |  | Bathymetry |  |  | Topo1m_CCEShallow_20161207_UTM.grd | 200-504 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | 20170221 |  | Bathymetry |  |  | Topo1m_CCEShallow_20170221_UTM.grd | 200-505 |  |  |  | Bathymetry | [7 empty] | co-registered to all CCEShallow grids | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20151201_20151104_UTM.grd | 200-506 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20160128_20151201_UTM.grd | 200-507 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20160321_20160128_UTM.grd | 200-508 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20161207_20160321_UTM.grd | 200-509 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20170221_20151104_UTM.grd | 200-510 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEShallow_20170221_20161207_UTM.grd | 200-511 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | 20170323 |  | Bathymetry |  |  | Topo1m_CCEDeep_20170323_UTM.grd | 1350-1880 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151105_1106_UTM.grd | Charlie Paull, David Caress
| N/A | 20161206 |  | Bathymetry |  |  | Topo1m_CCEDeep_20161206_UTM.grd | 1350-1881 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160418_UTM.grd | Charlie Paull, David Caress
| N/A | 20160418 |  | Bathymetry |  |  | Topo1m_CCEDeep_20160418_UTM.grd | 1350-1882 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20161206_UTM.grd | Charlie Paull, David Caress
| N/A | 20160322 |  | Bathymetry |  |  | Topo1m_CCEDeep_20160322_UTM.grd | 1350-1883 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20151202_UTM.grd | Charlie Paull, David Caress
| N/A | 20151202 |  | Bathymetry |  |  | Topo1m_CCEDeep_20151202_UTM.grd | 1350-1884 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20160322_UTM.grd | Charlie Paull, David Caress
| N/A | 20151105 and 20151106 |  | Bathymetry |  |  | Topo1m_CCEDeep_20151105_1106_UTM.grd* | 1350-1885 |  |  |  | Bathymetry | [7 empty] | co-registered to Topo1m_CCEDeep_20170323_UTM.grd * indicates best quality grid of site | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20170323_20151105_UTM.grd | 1350-1886 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20161206_20160418_UTM.grd | 1350-1887 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress
| N/A | N/A |  | Bathymetry |  |  | TopoDiff1m_CCEDeep_20160322_20151202_UTM.grd | 1350-1888 |  |  |  | Bathymetry | [7 empty] | difference between two surveys, erosion is negative | Charlie Paull, David Caress